## Sheet1
PV Module Warranty Exposure and Degradation Impact Model
This spreadsheet estimates PV warranty payout and financial exposure for a module manufacturer in case of underperformance versus the guaranteed warranty curve, using assumptions for degradation, lab uncertainty, and manufacturing tolerance. It also translates the technical underperformance into megawatt (MW) and monetary loss and relates that to module cost evolution over time (historical and projected).
USER Inputs |  |  |  | Modeled PV Array Output and Power Delta Relative to Warranty
Variable | Value | Unit | Description | Descriptions | Percent power loss relative to nameplate, combining light-induced degradation (LID), manufacturing tolerance, and cumulative yearly degradation, adjusted for laboratory measurement uncertainty at a 95% confidence level. | P_warranty normalized to nameplate (percentage). Shows how much of the nominal power remains after degradation. | Power value under the warranty curve (W/module). This follows the degradation warranty (e.g., -0.5%/yr). | Power level that the farm is guaranteed to achieve, considering the same degradation curve. | Theoretical power (MW) of the PV farm assuming all modules perform at nominal (nameplate) rating. | Power shortfall (%) between the guaranteed power and the nameplate value. This is the basis for warranty payouts if the real power drops below the guarantee.
Nameplate P_STC | 400 | W | Nominal power of one PV module under standard test conditions. | Year | Warranty_Total_Degradation | Warranty_Remaining_Power_Fraction | Warranty_P | P_Array_Guaranteed | P_Array_Degraded | ΔP_Array (Guaranteed - Degraded)
Degradation warranty | -0.5% | % | Annual power degradation limit stated in the product warranty. The model applies this each year. |  |  |  | W | MW | MW | MW
LID | -3% | % | Light Induced Degradation. One-time initial loss in output after exposure to sunlight. Reduces power in year 0. Typically 1-3% | 0 | 0.071358 | 0.92864 | 371.46 | 0.3 | 0.3 | 0
Lab unc | 1.6% | % | Laboratory uncertainty margin, used by manufacturers to buffer warranty claims. Even if measured below guarantee, uncertainty can make it “within spec.” | 1 | 0.076001 | 0.924 | 369.6 | 0.3 | 0.3 | 0
Manuf tol | 3% | % | Manufacturing tolerance of the nameplate rating (e.g., ±3%). For worst-case, the model uses -3%, meaning the true power could start 3% below the labeled 400 W. | 2 | 0.080644 | 0.91936 | 367.74 | 0.3 | 0.3 | 0
|  |  |  | 3 | 0.085288 | 0.91471 | 365.88 | 0.3 | 0.3 | 0
System Size | 0.3 | MW | PV system size at installation (nominal, using 400 W per module). Used to scale results from module to system level. | 4 | 0.089931 | 0.91007 | 364.03 | 0.3 | 0.3 | 0
Year of "failure" | 10 |  | Simulation year when the underperformance is evaluated | 5 | 0.094574 | 0.90543 | 362.17 | 0.3 | 0.3 | 0
Degradation in year of failure | 0.8 |  | Power drop (in %) expected in that year alone. Derived from the warranty degradation rate. | 6 | 0.099217 | 0.90078 | 360.31 | 0.3 | 0.3 | 0
Shock Drop | 0.05 |  | Additional sudden loss (e.g., event-related power drop or rounding margin). | 7 | 0.10386 | 0.89614 | 358.46 | 0.3 | 0.3 | 0
|  |  |  | 8 | 0.1085 | 0.8915 | 356.6 | 0.3 | 0.3 | 0
Calculations / Lookups |  |  |  | 9 | 0.11315 | 0.88685 | 354.74 | 0.3 | 0.3 | 0
Degradation in year of failure | 0.88221 |  | Lookup result from the warranty degradation curve for the given year | 10 | 0.11779 | 0.88221 | 352.88 | 0.3 | 0.3 | 0
Degradation + Schockdrop | 0.83221 |  | Net degradation including warranty curve + shock loss + other effects. This is the percentage used to compare with actual power. | 11 | 0.12243 | 0.87757 | 351.03 | 0.3 | 0.3 | 0
|  |  |  | 12 | 0.12708 | 0.87292 | 349.17 | 0.3 | 0.3 | 0
RESULTS |  |  |  | 13 | 0.13172 | 0.86828 | 347.31 | 0.3 | 0.3 | 0
Capacity Payout in year of failure | -0.024663 | MW | Power shortfall (in MW) at the farm level versus warranty guarantee. Negative means payout owed to customer. | 14 | 0.13636 | 0.86364 | 345.45 | 0.3 | 0.3 | 0
Cash payout (million) | -0.0088787 |  | Financial cost to manufacturer if warranty claim is honored. Derived from shortfall MW × $/W replacement cost. | 15 | 0.14101 | 0.85899 | 343.6 | 0.3 | 0.3 | 0
Farm balance sheet value if new (million) | -0.061657 |  | Reference book value of the plant if it were new (used for financial context). | 16 | 0.14565 | 0.85435 | 341.74 | 0.3 | 0.3 | 0
Loss balance sheet - payout | -0.052779 |  | Total difference in value after payout. Represents asset impairment for the manufacturer’s books. | 17 | 0.15029 | 0.84971 | 339.88 | 0.3 | 0.3 | 0
|  |  |  | 18 | 0.15494 | 0.84506 | 338.03 | 0.3 | 0.3 | 0
Reference cost data per watt from Our World in Data (historical module cost trend). |  |  |  | 19 | 0.15958 | 0.84042 | 336.17 | 0.3 | 0.3 | 0
| $/W | Corresponding Year | Description | 20 | 0.16422 | 0.83578 | 334.31 | 0.3 | 0.3 | 0
Purchase cost | 2.5 | 2010 | Typical PV module price in 2010, used for cost trend comparison. | 21 | 0.16887 | 0.83113 | 332.45 | 0.2 | 0.3 | -0.1
Replacement cost in year | 0.36 | 2020 | Modern PV module price (or warranty replacement cost benchmark). | 22 | 0.17351 | 0.82649 | 330.6 | 0.2 | 0.3 | -0.1
|  |  |  | 23 | 0.17815 | 0.82185 | 328.74 | 0.2 | 0.3 | -0.1
What if PV goes even lower? |  |  |  | 24 | 0.1828 | 0.8172 | 326.88 | 0.2 | 0.3 | -0.1
Purchase cost | 0.1 | $/W |  | 25 | 0.18744 | 0.81256 | 325.02 | 0.2 | 0.3 | -0.1
Replacement cost in year | 0.01 | $/W
Cash payout (million) | -0.00024663
Farm balance sheet value if new (million) | -0.0024663
Loss balance sheet - payout | -0.0022197
* Manufacturers pay warranty claims based on the difference between actual measured power and the guaranteed warranty curve, not full replacement cost. * The payout must consider: -Lab uncertainty (1.6%) and manufacturing tolerance (-3%), which effectively reduce the initial baseline to around 92.9% of Pnominal. -From there, performance declines per warranty (e.g., -0.5%/yr). * The model checks what happens at a given system age (e.g., 10 or 15 years) if the power output drops below this curve, and what that implies for: -Cash exposure per MW -Manufacturer’s balance sheet impact if they had to compensate all customers. * The “What if PV goes even lower?” section shows how declining module prices make warranty payouts cheaper (less financial risk per W), which has historically helped manufacturers “surf down the cost curve.” In the future, if prices flatten, payouts become more painful.